{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":49,"n_cols":6,"rows_kept":49,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","CTXA-CW"]
[]
[]
[]
[]
["","","","","","CTXA15C2V1BW"]
["Indgangseffekt","Køle","","Nom.","kW","0.02"]
["","Varme","","Nom.","kW","0.02"]
["Kabinet","Farve","","","","Hvid"]
["Mål","Enhed","","Højde","mm","295"]
["","","","Bredde","mm","798"]
["","","","Dybde","mm","189"]
["Vægt","Enhed","","","kg","11.5"]
["Ventilator","Luftmængde","Køle","Høj","m³/min","11"]
["","","Køling","Mellem","m³/min","8.2"]
["","","","Lav","m³/min","6.1"]
["","","","Lydsvag drift","m³/min","4.6"]
["","","Varme","Høj","m³/min","10.9"]
["","","Opvarmning","Mellem","m³/min","8.7"]
["","","Varme","Lav","m³/min","6.4"]
["","","","Lydsvag drift","m³/min","4.5"]
["Lydeffekt","Køling","","","dBA","57"]
["Lydtryk","Køle","","Høj","dBA","39"]
["Lydtryksniveau","Køling","","Mellem","dBA","32"]
["Lydtryk","Køle","","Lav","dBA","25"]
["","","","Lydsvag drift","dBA","21"]
["","Varme","","Høj","dBA","39"]
["Lydtryksniveau","Opvarmning","","Mellem","dBA","32"]
["Lydtryk","Varme","","Lav","dBA","25"]
["","","","Lydsvag drift","dBA","21"]
["Kølemiddel","GWP","","","","675"]
["Rørtilslutninger","Flydende","","UD","mm","6.35"]
["","Gas","","UD","mm","9.5"]
["","Dræn","","","","18"]
["Styresystemer","Trådløs fjernbetjening","","","","ARC466A85"]
["","Fortrådet fjernbetjening","","","","BRC073A1"]
["Standardtilbehør","Installation manual","","","","1"]
["","Screw cover","","","","2"]
["","AAA dry-cell batteries","","","","2"]
["","General safety precautions","","","","1"]
["","Operation manual","","","","1"]
["","Air filter","","","","2"]
["","Infrared remote control","","","","1"]
["","Remote controller mounting plate","","","","1"]
["","Screw bag","","","","1"]
["Strømforsyning","Navn","","","","V1"]
["","Fase","","","","1~"]
["","Frekvens","","","Hz","50"]
["","Strømspænding","","","V","220-240"]