{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":49,"n_cols":7,"rows_kept":49,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","CTXM-R"]
[]
[]
[]
[]
["","","","","","CTXM15R2V1B","CTXM15R5V1B"]
["Indgangseffekt","Køle","","Nom.","kW","0.029","0.029"]
["","Varme","","Nom.","kW","0.023","0.023"]
["Kabinet","Farve","","","","Hvid","Hvid"]
["Mål","Enhed","","Højde","mm","295","295"]
["","","","Bredde","mm","778","778"]
["","","","Dybde","mm","272","272"]
["Vægt","Enhed","","","kg","10","10"]
["Ventilator","Luftmængde","Køle","Høj","m³/min","10.5","10.5"]
["","","Køling","Mellem","m³/min","7.5","7.5"]
["","","","Lav","m³/min","5.7","5.7"]
["","","","Lydsvag drift","m³/min","4.3","4.3"]
["","","Varme","Høj","m³/min","9.3","9.3"]
["","","Opvarmning","Mellem","m³/min","8.2","8.2"]
["","","Varme","Lav","m³/min","6.2","6.2"]
["","","","Lydsvag drift","m³/min","5.1","5.1"]
["Lydeffekt","Køling","","","dBA","57","57"]
["","Opvarmning","","","dBA","54","54"]
["Lydtryk","Køle","","Høj","dBA","41","41"]
["Lydtryksniveau","Køling","","Mellem","dBA","33","33"]
["Lydtryk","Køle","","Lav","dBA","25","25"]
["","","","Lydsvag drift","dBA","19","19"]
["","Varme","","Høj","dBA","39","39"]
["Lydtryksniveau","Opvarmning","","Mellem","dBA","34","34"]
["Lydtryk","Varme","","Lav","dBA","26","26"]
["","","","Lydsvag drift","dBA","20","20"]
["Rørtilslutninger","Flydende","","UD","mm","6.35","6.35"]
["","Gas","","UD","mm","9.5","9.5"]
["","Dræn","","","","18","18"]
["Control systems","Infrared remote control","","","","ARC466A67","ARC466A67"]
["Styresystemer","Fortrådet fjernbetjening","","","","BRC073A1","BRC073A1"]
["Standardtilbehør","Installation manual","","","","1","1"]
["","Wireless remote control","","","","1","1"]
["","AAA dry-cell batteries","","","","2","2"]
["","WLAN adapter kit","","","","1","1"]
["","Operation manual","","","","1","1"]
["","Titanium apatite deodorizing filter","","","","1","1"]
["","Indoor unit fixing screws","","","","2","2"]
["","Mounting plate","","","","1","1"]
["","Remote control holder","","","","1","1"]
["Strømforsyning","Navn","","","","V1","V1"]
["","Fase","","","","1~","1~"]
["","Frekvens","","","Hz","50","50"]
["","Strømspænding","","","V","220-240","220-240"]