{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":49,"n_cols":8,"rows_kept":49,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXZ-N"]
[]
[]
[]
[]
["","","","","","FTXZ25NV1B","FTXZ35NV1B","FTXZ50NV1B"]
["Lydtryk","Varme","","Høj","dBA","39","42","44"]
["","","","Lydsvag drift","dBA","19","19","24"]
["","","","Lav","dBA","28","29","31"]
["","Køle","","Lydsvag drift","dBA","19","19","23"]
["","","","Lav","dBA","26","27","30"]
["","","","Høj","dBA","38","42","47"]
["","","","Nom.","dBA","35","36","38"]
["","Køle","","Nom.","dBA","33","35","38"]
["Standardtilbehør","Fotokatalytisk luftrensende og lugtfjernende filter","","","","1","1","1"]
["","Fortrådet fjernbetjening","","","","1","1","1"]
["","Tørbatterier","","","","2","2","2"]
["","Holder til fjernbetjening","","","","1","1","1"]
["","Fastgøringsskruer til indendørs enhed","","","","3","3","3"]
["","Monteringsplade","","","","1","1","1"]
["Styresystemer","Infrared remote control","","","","ARC477A1","ARC477A1","ARC477A1"]
["Rørtilslutninger","Flydende","","UD","mm","6.35","6.35","6.35"]
["","Gas","","UD","mm","9.5","9.5","9.5"]
["Indgangseffekt","Køle","","Nom.","kW","0.030","0.030","0.030"]
["","Varme","","Nom.","kW","0.030","0.030","0.030"]
["Sound power level","Køling","","","dBA","54","57","60"]
["","Opvarmning","","","dBA","56","57","59"]
["Mål","Enhed","","Bredde","mm","798","798","798"]
["","","","Dybde","mm","372","372","372"]
["","","","Højde","mm","295","295","295"]
["Kabinet","Farve","","","","Hvid","Hvid","Hvid"]
["Vægt","Enhed","","","kg","15","15","15"]
["Ventilator","Luftmængde","Varme","Høj","m³/min","11.7","13.3","14.4"]
["","","","Lav","m³/min","6.7","6.9","7.7"]
["","","","Lydsvag drift","m³/min","4.8","4.8","5.9"]
["","","Køle","Lav","m³/min","5.3","5.6","6.6"]
["","","","Høj","m³/min","10.7","12.1","15.0"]
["","","","Lydsvag drift","m³/min","4.0","4.0","4.6"]
["","","","Nom.","m³/min","8.6","9.2","10.7"]
["","","Køle","Nom.","m³/min","7.5","8.4","9.2"]
["Power supply","Fase","","","","1~","1~","1~"]
["","Navn","","","","V1","V1","V1"]
["","Frekvens","","","Hz","50","50","50"]
["","Strømspænding","","","V","220-240","220-240","220-240"]
["Bemærkninger","","","","","(1) - 220V","(1) - 220V","(1) - 220V"]
["","","","","","(2) - 230V","(2) - 230V","(2) - 230V"]
["","","","","","(3) - 240V","(3) - 240V","(3) - 240V"]
["","","","","","(4) - Forside af varmeveksler","(4) - Forside af varmeveksler","(4) - Forside af varmeveksler"]
["","","","","","(5) - Bagside af varmeveksler","(5) - Bagside af varmeveksler","(5) - Bagside af varmeveksler"]